## Slide 1: ContDataQC Guide Video
02 Custom Configuration

## Slide 2: ContDataQC
A package (add-in) for R (statistical programming language) that enables users to perform some quality control checks and related functions on their continuous monitoring data.
Available on GitHub (a code sharing website).
  https://github.com/leppott/ContDataQC
To install within R run the code below.
  library(devtools)
  install_github("leppott/ContDataQC", force=TRUE, build_vignettes=TRUE)

## Slide 3: Getting Help
From within R need to load the library first.
  library(ContDataQC)
Help for a specific function.
  Prefix the command with a question mark.
    ?ContDataQC
Help index for all function in the package.
  help(package="ContDataQC")
Vignette, overall help file.
  vignette("ContDataQC_Vignette",package="ContDataQC")

## Slide 4: Custom Configuration
The ContDataQC package contains a “configuration” file that holds the thresholds, formats, directory names, and parameter names used in the internal workings of the package.
The user has the option of loading their own configuration file to override the defaults. Some examples include:
  Time zones;
  Thresholds for flagging suspect and fail measurements;
  Inclusion of values flagged as QC failures in calculations.
    (By default fails are excluded).

## Slide 5: Viewing the Configuration File
Included in Vignette
  vignette("ContDataQC_Vignette",package="ContDataQC")
Open.
  https://github.com/leppott/ContDataQC/blob/master/R/config.R
Lines prefixed with “#” are comments.
Sections of the file are marked with a comment row to help with viewing.

## Slide 6: Creating a Custom Config File
Only need to include lines for values that need to be modified.
That is, the package loads the default configuration first then overwrites any variables with input from the custom configuration.
  To change the time zone only need to include the lines:
    ContData.env$myTZ <- "America/Chicago" # central time zone
  To change the exclusion of QC fails in calcuations:
    ContData.env$myStats.Fails.Exclude <- FALSE

## Slide 7: Example - Steps
To change flat line test thresholds for water temperature.
Open and save config.R to your working directory.
Change the relevant values in config.R
  ContData.env$myThresh.Flat.Hi.WaterTemp <- 30
  ContData.env$myThresh.Flat.Lo.WaterTemp <- 20
  ContData.env$myThresh.Flat.Tolerance.WaterTemp <- 0.01
Delete out all other lines
  Add some comments as to who made the change and why.
  Rename so can differentiate between files.
Include the new config file in function call.

## Slide 8: Changing Values
If getting too many failures during winter months can change the number of consecutive measurements that trigger a suspect (Lo) or failure (Hi).
Can also change the minimum difference (e.g., 0.01).
In this example will change 30 and 20 to 50 and 30.

## Slide 9: To include custom configuration
When run the function “ContDataQC()” there is a parameter (fun.myConfig) that allows the user to input their own configuration file.
  fun.myFile=“config_flat.R”
  “config_flat.R” should be in the working directory and is the name of your file.

## Slide 10: R Code from Help File
# QC Raw Data
myData.Operation <- "QCRaw" #Selection.Operation[2]
myData.SiteID <- "test2"
myData.Type <- Selection.Type[3] #"AW"
myData.DateRange.Start <- "2013-01-01"
myData.DateRange.End <- "2014-12-31"
myDir.import <- file.path(myDir.BASE,Selection.SUB[1]) #"Data1_RAW"
myDir.export <- file.path(myDir.BASE,Selection.SUB[2]) #"Data2_QC"
myReport.format <- "docx"
ContDataQC(myData.Operation, myData.SiteID, myData.Type, myData.DateRange.Start
, myData.DateRange.End, myDir.import, myDir.export
, fun.myReport.format=myReport.format)

## Slide 11: Revised R Code that Include Custom Config
# QC Raw Data
myData.Operation <- "QCRaw" #Selection.Operation[2]
myData.SiteID <- "test2"
myData.Type <- Selection.Type[3] #"AW"
myData.DateRange.Start <- "2013-01-01"
myData.DateRange.End <- "2014-12-31"
myDir.import <- file.path(myDir.BASE,Selection.SUB[1]) #"Data1_RAW"
myDir.export <- file.path(myDir.BASE,Selection.SUB[2]) #"Data2_QC"
myReport.format <- "docx“
myConfig <- “config_flat.R”
ContDataQC(myData.Operation, myData.SiteID, myData.Type, myData.DateRange.Start
, myData.DateRange.End, myDir.import, myDir.export
      , fun.myConfig=myConfig
, fun.myReport.format=myReport.format)

## Slide 12: Compare QC Report

## Slide 13
Acknowledgements
Development of these instructional materials was funded by EPA ORD/NCEA (contact: Britta Bierwagen - Bierwagen.Britta@epa.gov).
Erik W. Leppo (Erik.Leppo@tetratech.com) from Tetra Tech (Tt) developed the ContDataQC R package (https://github.com/leppott/ContDataQC), with assistance from Jen Stamp (Tt) and David Gibbs (EPA ORISE fellow).